## Worksheet
SNo | Quotation No | Supervisor | Coordinator | Store Name | Store code | Store Type | Ro Num | Ro Date | Fault Description | Ro Amount | Service Fee | Gst Amount | Total Amount | Bill status | Remarks | Whom To be Invest | Transfer Amount | Amount Transferred Date | User | Bill received Date | Certification Date
1 | QJFMTS22239545 | Y.VEERABABU | M.RAVI | DILSUKHNAGAR | F1LD | FASHION FACTORY | 4504003044 | 10-03-2023 | GRANITE STONES AND TILES DAMAGED IN THE STORE, NEED TO REPLACE WITH THE NEW ONES | 12368 | 228 | 2267.28 | 14863 | Not required | Need to return | Y.Veera Babu-10000.00(14-03-2023), | 10000 | 2023-03-14 | RAVI | #N/A | #N/A
2 | QJFMTS22239687 | K.KUMARA SWAMY | M.RAVI | PUDUR | YPA2 | PCS | 4503999233 | 24-03-2023 | TRANSFORMER AREA CLEANING AND GRAVEL LAYING WORK | 8400 | 504 | 1602.72 | 10507 | Certification pending |  | K.Kumar Swamy-8200.00(16-03-2023), | 8200 | 2023-03-16 | RAVI | 2023-03-28 | 0
3 | QJFMTS22239812 | E.SUCHARITH | M.RAVI | VANASTHALIPURAM | 8342 | FOOTPRINT | 4504006232 | 16-03-2023 | FRONT GLASS DOOR NOT WORKING, NEED TO REPAIR | 1500 | 90 | 286.2 | 1876 | WIP | 45010 | Ch.Srinivasa Rao-1200.00(20-03-2023), | 1200 | 2023-03-20 | RAVI | #N/A | #N/A
4 | QJFMTS22239746 | P.ASHOK | M.SUJITHA | KANDLAKOI | Y225 | CPC | 4503999235 | 24-03-2023 | 5.5TR- UNIT NOT WORKING IN COLD ROOM NO-2 NEED TO REPAIR | 13700 | 822 | 2613.96 | 17136 | To be start | 45010 | P.Ashok Kumar-13420.00(20-03-2023), | 13420 | 2023-03-20 | RAVI | #N/A | #N/A
5 | QJFMTS22234102 | V.U.V.PRASAD | M.RAVI | DEVARAYAMJAL | SH68 | GMDC | 63649673 | 13-03-2023 | RACKING BEAMS DISMANTLING AND INSTALLATION WORK REQUIRED | 536676 | 32200.56 | 102397.77 | 671274 | Invoice to be raise |  | Om Sai Enterprises-622544.00(31-03-2023), | 622544 | 2023-03-31 | RAVI | 2023-03-14 | 2023-03-14
6 | QJFMTS22239353 | B.PRAKASH | M.SUJITHA | KOMPALLY | FRBH | SMART BAZAAR | 4504024980 | 23-03-2023 | CHARGES REQUIRED FOR CUTTING AND MOLDING THE DOOR FRAME | 2025 | 121.5 | 386.37 | 2533 | Pending bill | 45013 | Ch.Srinivasa Rao-1750.00(21-03-2023), | 1750 | 2023-03-21 | RAVI | #N/A | #N/A
7 | QJFMTS22239223 | E.SUCHARITH | M.RAVI | LB NAGAR | S862 | MINI FC | 4504038802 | 24-03-2023 | FLOORING DAMAGED IN THE STORE, REPAIR WORK REQUIRED | 24250 | 1455 | 4626.9 | 30332 | To be start | Store team permission given on 01-04-2023 | E.Sucharith-23500.00(27-03-2023), | 23500 | 2023-03-27 | RAVI | #N/A | #N/A
8 | QJFMTS22239790 | M.VENKATA SUBBA RAO | M.SUJITHA | AS RAO NAGAR | 8148 | TRENDS FOOTWEAR | 4504010720 | 14-03-2023 | LED DRIVES REQUIRED IN THE STORE | 3120 | 0 | 561.6 | 3682 | Invoice to be raise |  | Ch.Srinivasa Rao-1650.00(27-03-2023), | 1650 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-27
9 | QJFMTS22239843 | Y.VEERABABU | M.RAVI | DILSUKHNAGAR | TEZ7 | DIGITAL | 4503999246 | 25-03-2023 | 25LPH RO PURIFIER NOT WORKING, NEED TO REPAIR | 10142 | 36 | 1832.04 | 12010 | WIP | 45014 | Y.Veera Babu-9000.00(27-03-2023), | 9000 | 2023-03-27 | RAVI | #N/A | #N/A
10 | QJFMTS22240072 | B.SUMAN NAIK | M.SUJITHA | SHIVAM RD | 8823 | DIGITAL | 4504030394 | 25-03-2023 | ANTI SKID TAPE REQUIRED IN THE STORE | 4680 | 280.8 | 892.94 | 5854 | WIP | 45013 | Ch.Srinivasa Rao-3050.00(27-03-2023), | 3050 | 2023-03-27 | RAVI | #N/A | #N/A
11 | QJFMTS22239747 | P.ASHOK | M.SUJITHA | KANDLAKOI | Y225 | CPC | 4503999229 | 24-03-2023 | 5.5TR- UNIT NOT WORKING IN COLD ROOM NO-3 NEED TO REPAIR | 12300 | 738 | 2346.84 | 15385 | To be start | 0 | P.Ashok Kumar-12000.00(27-03-2023), | 12000 | 2023-03-27 | RAVI | #N/A | #N/A
12 | QJFMTS22239517 | D.CHANDRA SHEKAR | M.RAVI | KOMPALLY | R301 | DC | 4504032274 | 23-03-2023 | YELLOW COLOUR FLOOR MARKING LINES REQUIRED | 10860 | 651.6 | 2072.09 | 13584 | WIP | 0 | Chandra Shekhar.D-10600.00(27-03-2023), | 10600 | 2023-03-27 | RAVI | #N/A | #N/A
13 | QJFMTS22237612 | P.NARASIMHA | M.RAVI | SAIDABAD | FRBO | BIG BAZAR | 4091644754 | 28-03-2023 | INSULATION MATS REQUIRED IN THE STORE | 12000 | 0 | 2160 | 14160 | Invoice to be raise |  | Ch.Srinivasa Rao-9251.00(27-03-2023),Ch.Srinivasa Rao-500.00(27-03-2023), | 9751 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-25
14 | QJFMTS22239836 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4503999249 | 25-03-2023 | 160KVA TRANSFORMER OIL FILTRATION WORK REQUIRED | 16300 | 978 | 3110.04 | 20388 | To be start | Permisson given by tomorrow | J Janardhanrao-15000.00(27-03-2023), | 15000 | 2023-03-27 | RAVI | #N/A | #N/A
15 | QJFMTS22239755 | V.RAVI | M.SUJITHA | EAST MAREDPALLY | FR9O | HERITAGE-SMART POINT | 4504033886 | 23-03-2023 | 50AMPS LBS FUSE REQUIRED IN THE STORE | 8300 | 498 | 1583.64 | 10382 | Invoice to be raise |  | Ch.Srinivasa Rao-6018.00(27-03-2023),Ch.Srinivasa Rao-200.00(27-03-2023), | 6218 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-25
16 | QJFMTS22239998 | V.RAVI | M.SUJITHA | SUCHITRA JUNCTION | 8661 | DIGITAL | 4504030865 | 25-03-2023 | GLASS DOOR DAMAGED, NEED TO REPLACE WITH NEW ONE | 14300 | 0 | 2574 | 16874 | Invoice to be raise |  | Ch.Srinivasa Rao-12500.00(27-03-2023), | 12500 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-27
17 | QJFMTS22240010 | Y.VEERABABU | M.RAVI | L&T MOOSARAMBAGH MALL | TS25 | TRENDS | 4503999252 | 25-03-2023 | DRAW CHANNELS AND L PATTIES REQUIRED IN THE STORE | 4905 | 51.3 | 892.13 | 5848 | WIP | 45014 | Y.Veera Babu-4450.00(27-03-2023), | 4450 | 2023-03-27 | RAVI | #N/A | #N/A
18 | QJFMTS22239867 | B.SUMAN NAIK | M.SUJITHA | BARKATPURA | FR8B | HERITAGE-SMART POINT | 4504024979 | 23-03-2023 | SHUTTER REPAIR WORK REQUIRED IN THE STORE | 15116.4 | 0 | 2720.95 | 17837 | To be start | Permisson pending from store team | Ch.Srinivasa Rao-13500.00(27-03-2023), | 13500 | 2023-03-27 | RAVI | #N/A | #N/A
19 | QJFMTS22239829 | V.RAVI | M.SUJITHA | KOMPALLY | 5801 | TRENDS | 4504030866 | 25-03-2023 | RED COLOUR SPRAY PAINT REQUIRED IRON TABLES IN THE STORE | 11500 | 690 | 2194.2 | 14384 | 0 | 0 | V.Ravi-10500.00(27-03-2023), | 10500 | 2023-03-27 | RAVI | #N/A | #N/A
20 | QJFMTS22239952 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4504004241 | 21-03-2023 | HEALTH FAUCET REQUIRED IN THE STORE | 1469 | 0 | 264.42 | 1733 | Invoice to be raise |  | Ch.Srinivasa Rao-1050.00(27-03-2023),Ch.Srinivasa Rao-100.00(27-03-2023), | 1150 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-25
21 | QJFMTS22239519 | B.SUMAN NAIK | M.SUJITHA | HIMAYAT NAGAR | 8825 | DIGITAL | 4504000657 | 13-03-2023 | HVAC MAIN POWER ERECTION WORK REQUIRED IN THE STORE | 4738 | 232.8 | 894.75 | 5866 | Certification pending |  | Arihanth Switch Gears-3624.00(27-03-2023),Ch.Srinivasa Rao-220.00(27-03-2023), | 3844 | 2023-03-27 | RAVI | 2023-03-28 | 0
22 | QJFMTS22239325 | B.SUMAN NAIK | M.SUJITHA | KACHIGUDA | 8824 | DIGITAL | 4504010672 | 11-03-2023 | MATERIAL REQUIRED FOR HVAC MAIN POWER POINT ERECTION CHARGES | 15125 | 907.5 | 2885.85 | 18918 | Invoice to be raise |  | Arihanth Switch Gears-6249.00(27-03-2023),Ch.Srinivasa Rao-370.00(27-03-2023), | 6619 | 2023-03-27 | RAVI | 2023-03-23 | 2023-03-23
23 | QJFMTS22239502 | P.ASHOK | M.SUJITHA | KANDLAKOI | Y225 | CPC | 4504004002 | 04-03-2023 | ABC FIRE CYLINDER REFILLING REQUIRED IN THE STORE | 2390 | 58.8 | 440.78 | 2890 | Invoice to be raise |  | Ravi Teja Fire Safety-2478.00(27-03-2023), | 2478 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-25
24 | QJFMTS22238634 | B.SUMAN NAIK | M.SUJITHA | ACE VENTURES KOTHAPET | TGC4 | SMART | 4088939797 | 10-03-2023 | MCB REQUIRED IN THE STORE | 1237 | 0 | 222.66 | 1460 | Invoice to be raise |  | Arihanth Switch Gears-1151.00(27-03-2023),Ch.Srinivasa Rao-100.00(27-03-2023), | 1251 | 2023-03-27 | RAVI | 2023-03-18 | 2023-03-20
25 | QJFMTS22239268 | B.SUMAN NAIK | M.SUJITHA | RAMNAGAR | 7927 | MINI DX | APPROVED BY STATE LEAD | 15-03-2023 | SHUTTER SIDE LOCK REQUIRED IN THE STORE | 5400 | 0 | 972 | 6372 | Invoice to be raise |  | Ch.Srinivasa Rao-3600.00(27-03-2023), | 3600 | 2023-03-27 | RAVI | 2023-03-20 | 2023-03-21
26 | QJFMTS22239870 | V.RAVI | M.SUJITHA | BALANAGAR | T750 | DIGITAL | 4504025871 | 20-03-2023 | CEILING TILES REPLACEMENT WORK REQUIRED IN THE STORE | 2400 | 0 | 432 | 2832 | Invoice to be raise |  | Ch.Srinivasa Rao-2100.00(27-03-2023), | 2100 | 2023-03-27 | RAVI | 2023-03-27 | 2023-03-27
27 | QJFMTS22239868 | V.RAVI | M.SUJITHA | BEGUMPET | T994 | JEWELLS | 4504004209 | 20-03-2023 | LED STRIPS AND DRIVE REQUIRED IN THE STORE | 2453 | 96 | 458.82 | 3008 | Invoice to be raise |  | Ch.Srinivasa Rao-1587.00(27-03-2023),Ch.Srinivasa Rao-100.00(27-03-2023), | 1687 | 2023-03-27 | RAVI | 2023-03-24 | 2023-03-24
28 | QJFMTS22239865 | V.RAVI | M.SUJITHA | BALANAGAR | T750 | DIGITAL | 4504004215 | 20-03-2023 | 2.5SQ MM CABLE , SWITCHES & SOCKETS REQUIRED IN THE STORE | 3042 | 70.2 | 560.2 | 3672 | Invoice to be raise |  | Ch.Srinivasa Rao-1901.00(27-03-2023),Ch.Srinivasa Rao-470.00(27-03-2023), | 2371 | 2023-03-27 | RAVI | 2023-03-27 | 2023-03-27
29 | QJFMTS22239358 | B.SUMAN NAIK | M.SUJITHA | KACHIGUDA | 8824 | DIGITAL | APPROVED BY STATE LEAD | 15-03-2023 | MCB REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 8125 | 0 | 1462.5 | 9588 | Invoice to be raise |  | Arihanth Switch Gears-7469.00(27-03-2023),Ch.Srinivasa Rao-200.00(27-03-2023), | 7669 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-25
30 | QJFMTS22239333 | M.VENKATA SUBBA RAO | M.SUJITHA | AS RAO NAGAR | TG91 | TRENDS | 4504003710 | 14-03-2023 | DOOR L HANDLE REQUIRED IN THE STORE | 5760 | 345.6 | 1099.01 | 7205 | Invoice to be raise |  | Ch.Srinivasa Rao-3888.00(27-03-2023), | 3888 | 2023-03-27 | RAVI | 2023-03-21 | 2023-03-21
31 | QJFMTS22239247 | B.SUMAN NAIK | M.SUJITHA | HIMAYAT NAGAR | TY5O | KALANIKETHAN | 4504010668 | 11-03-2023 | MATERIAL REQUIRED FOR CABLE ERECTION WORK FROM STABILIZER TO LT PANEL | 31881 | 1898.46 | 6080.31 | 39860 | Invoice to be raise |  | Arihanth Switch Gears-25594.00(27-03-2023),Ch.Srinivasa Rao-3210.00(27-03-2023), | 28804 | 2023-03-27 | RAVI | 2023-03-25 | 2023-03-25
32 | QJFMTS22239885 | Y.VEERABABU | M.RAVI | MALAKPET | 8815 | DIGITAL | 4090493516 | 20-03-2023 | 63A 4 POLE MCB REQUIRED IN THE STORE | 3154 | 0 | 567.72 | 3722 | Invoice to be raise |  | Arihanth Switch Gears-2950.00(27-03-2023),Ch.Srinivasa Rao-100.00(27-03-2023), | 3050 | 2023-03-27 | RAVI | 2023-03-23 | 2023-03-24
33 | QJFMTS22239214 | E.SUCHARITH | M.RAVI | MAZURABAD | TWRJ | TRENDS JUNIOR | APPROVED BY STATE LEAD | 15-03-2023 | RCCB REQUIRED IN THE STORE | 4486 | 0 | 807.48 | 5293 | Invoice to be raise |  | Arihanth Switch Gears-4685.00(27-03-2023),Ch.Srinivasa Rao-100.00(27-03-2023), | 4785 | 2023-03-27 | RAVI | 2023-03-27 | 2023-03-27
34 | QJFMTS22238744 | V.RAVI | M.SUJITHA | KOMPALLY (SUCHITRA) | 1915 | FOOTPRINT | 4504010719 | 14-03-2023 | LED TUBE LIGHTS REQUIRED IN THE STORE | 4700 | 282 | 896.76 | 5879 | Invoice to be raise |  | Arihanth Switch Gears-2832.00(27-03-2023),Ch.Srinivasa Rao-200.00(27-03-2023), | 3032 | 2023-03-27 | RAVI | 2023-03-20 | 2023-03-21
35 | QJFMTS22238921 | V.RAVI | M.SUJITHA | AMSRIFAUST | 8813 | DIGITAL | 4504003185 | 20-03-2023 | WASHROOM MATERIAL REPLACEMENT WORK REQUIRED IN THE STORE | 13725 | 644.4 | 2586.49 | 16956 | Invoice to be raise |  | Ch.Srinivasa Rao-7012.00(27-03-2023),Ch.Srinivasa Rao-250.00(27-03-2023), | 7262 | 2023-03-27 | RAVI | 2023-03-24 | 2023-03-24
36 | QJFMTS22239360 | Y.VEERABABU | M.RAVI | MALAKPET | 8008 | TRENDS | 4504011594 | 13-03-2023 | 10SQMM 4CORE CABLE REQUIRED FOR INSTALLING THE HVAC UNITS | 35300 | 2118 | 6735.24 | 44153 | Invoice to be raise |  | Arihanth Switch Gears-30916.00(27-03-2023),Ch.Srinivasa Rao-1150.00(27-03-2023), | 32066 | 2023-03-27 | RAVI | 2023-03-18 | 2023-03-18
37 | QJFMTS22233476 | P.NARASIMHA | M.RAVI | SAIDABAD | FRBO | BIG BAZAR | 4074384694 | 22-01-2023 | 11TR DUCTABLE HVAC UNIT SPARES REQUIRED | 160250 | 9615 | 30575.7 | 200441 | Invoice to be raise |  | Prakash Air Conditioners-70446.00(27-03-2023), | 70446 | 2023-03-27 | RAVI | 2023-03-01 | 2023-03-01
38 | QJFMTS22240068 | B.SUMAN NAIK | M.SUJITHA | SHIVAM RD | 8823 | DIGITAL | 4504030395 | 25-03-2023 | UPS TERMINAL BATTERIES REQUIRED IN THE STORE | 2395 | 143.7 | 456.97 | 2996 | #N/A | #N/A | Ch.Srinivasa Rao-1585.00(31-03-2023), | 1585 | 2023-03-31 | RAVI | #N/A | #N/A
39 | QJFMTS22240120 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4504037476 | 28-03-2023 | MS STAND REQUIRED FOR INVERTER | 15600 | 936 | 2976.48 | 19512 | #N/A | #N/A | Ch.Srinivasa Rao-10500.00(31-03-2023), | 10500 | 2023-03-31 | RAVI | #N/A | #N/A
40 | QJFMTS22239280 | T.GANESH | M.RAVI | SURVEY OF INDIA | 2021 | FRESH | APPROVED BY STATE LEAD | 15-03-2023 | AWNING REPAIR WORK REQUIRED IN THE STORE | 31450 | 1887 | 6000.66 | 39338 | Invoice to be raise |  | Shakthi Sharma-36344.00(31-03-2023), | 36344 | 2023-03-31 | RAVI | 2023-03-27 | 2023-03-28
41 | QJFMTS22239537 | Y.VEERABABU | M.RAVI | KOTHAPET | 8834 | DIGITAL | 4504009525 | 07-03-2023 | 4 CORE 6SQMM CABLE REQUIRED IN THE STORE | 3050 | 0 | 549 | 3599 | Invoice to be raise |  | Arihanth Switch Gears-3068.00(31-03-2023),Ch.Srinivasa Rao-100.00(31-03-2023), | 3168 | 2023-03-31 | RAVI | 2023-03-15 | 2023-03-16
42 | QJFMTS22240038 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4504030397 | 25-03-2023 | INVERTER BATTERY TERMINAL CAPS REQUIRED IN THE STORE | 2525 | 151.5 | 481.77 | 3158 | #N/A | #N/A | Ch.Srinivasa Rao-1855.00(31-03-2023), | 1855 | 2023-03-31 | RAVI | #N/A | #N/A
43 | QJFMTS22240049 | Y.VEERABABU | M.RAVI | MALAKPET | 8008 | TRENDS | 4504037471 | 28-03-2023 | TILES DAMAGED IN THE STORE, NEED TO REPLACE WITH THE NEW ONES | 24208.88 | 0 | 4357.6 | 28566 | #N/A | #N/A | Y.Veera Babu-20800.00(31-03-2023), | 20800 | 2023-03-31 | RAVI | #N/A | #N/A
44 | QJFMTS22240015 | MD.ZUMER | M.RAVI | VIKRAMPURI | 8768 | DIGITAL | 4504037468 | 28-03-2023 | CEILING TILES REQUIRED IN THE STORE FOR CLOSING THE GAPS NEAR CASSETTE AC | 7200 | 0 | 1296 | 8496 | #N/A | #N/A | Ch.Srinivasa Rao-6200.00(31-03-2023), | 6200 | 2023-03-31 | RAVI | #N/A | #N/A
45 | QJFMTS22239956 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | TY19 | RELIANCE DIGITAL MINI | APPROVED BY STATE LEAD | 27-03-2023 | PLYWOOD CUTTING CHARGES REQUIRED IN THE STORE | 600 | 36 | 114.48 | 750 | #N/A | #N/A | B.Suman Naik-500.00(31-03-2023), | 500 | 2023-03-31 | RAVI | #N/A | #N/A
46 | QJFMTS22239895 | MD.ZUMER | M.RAVI | ALWAL | 8475 | RELIANCE DIGITAL MINI | APPROVED BY STATE LEAD | 29-03-2023 | GLASS DOOR IS NOT WORKING PROPERLY NEED TO REPAIR | 1500 | 90 | 286.2 | 1876 | Invoice to be raise |  | Ch.Srinivasa Rao-1200.00(31-03-2023), | 1200 | 2023-03-31 | RAVI | 2023-03-28 | 2023-03-31
47 | QJFMTS22238679 | T.GANESH | M.RAVI | HEMA DURGA MALL -UPPAL | 8731 | DIGITAL | 4504024265 | 16-03-2023 | 20W 4FEET LED TUBE LIGHTS REQUIRED IN THE STORE | 4700 | 282 | 896.76 | 5879 | #N/A | #N/A | Arihanth Switch Gears-2832.00(31-03-2023),Ch.Srinivasa Rao-100.00(31-03-2023), | 2932 | 2023-03-31 | RAVI | #N/A | #N/A
48 | QJFMTS22239269 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4504003695 | 14-03-2023 | MATERIAL REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 37380 | 2242.8 | 7132.1 | 46755 | #N/A | #N/A | Arihanth Switch Gears-22667.00(31-03-2023),Ch.Srinivasa Rao-200.00(31-03-2023), | 22867 | 2023-03-31 | RAVI | #N/A | #N/A
49 | QJFMTS22239558 | Y.VEERABABU | M.RAVI | PURANI HAVELI | U11K | SMART POINT | 4088934727 | 09-03-2023 | 40A DP RCCBS REQUIRED IN THE STORE | 3884.12 | 0 | 699.14 | 4583 | Invoice to be raise |  | Arihanth Switch Gears-4571.00(31-03-2023), | 4571 | 2023-03-31 | RAVI | 2023-03-25 | 2023-03-25
50 | QJFMTS22239944 | B.SUMAN NAIK | M.SUJITHA | SHIVAM RD | 8823 | DIGITAL | 4503999245 | 25-03-2023 | 8-PORT HDMI SPLITTER ADOPTERS REQUIRED IN THE STORE | 10750 | 645 | 2051.1 | 13446 | #N/A | #N/A | B.Suman Naik-12390.00(31-03-2023), | 12390 | 2023-03-31 | RAVI | #N/A | #N/A
51 | QJFMTS22239942 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 6728 | SMART | 4504030398 | 25-03-2023 | DB & LT PANEL LOCKS REQUIRED IN THE STORE | 2075 | 124.5 | 395.91 | 2595 | #N/A | #N/A | Ch.Srinivasa Rao-1475.00(31-03-2023), | 1475 | 2023-03-31 | RAVI | #N/A | #N/A
52 | QJFMTS22239106 | E.SUCHARITH | M.RAVI | AVANTHRA | TWB2 | TRENDS WOMEN | 4091644740 | 28-03-2023 | 40A FP AND 63A FP MCBS REQUIRED IN THE STORE | 3154 | 0 | 567.72 | 3722 | #N/A | #N/A | Arihanth Switch Gears-2950.00(31-03-2023),Ch.Srinivasa Rao-100.00(31-03-2023), | 3050 | 2023-03-31 | RAVI | #N/A | #N/A
53 | QJFMTS22239953 | B.SUMAN NAIK | M.SUJITHA | AMBERPET | U455 | SMART POINT | 4503999248 | 25-03-2023 | 100W LED FLOOD LIGHT REPLACEMENT WORK REQUIRED IN THE STORE | 2000 | 120 | 381.6 | 2502 | Invoice to be raise |  | Arihanth Switch Gears-1711.00(31-03-2023),Ch.Srinivasa Rao-100.00(31-03-2023), | 1811 | 2023-03-31 | RAVI | 2023-03-28 | 2023-03-28
54 | QJFMTS22239296 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4091186291 | 25-03-2023 | MCB REQUIRED FOR HVAC POWER POINT CABLE ERECTION WORK | 12176 | 0 | 2191.68 | 14368 | #N/A | #N/A | Arihanth Switch Gears-11245.00(31-03-2023),Ch.Srinivasa Rao-100.00(31-03-2023), | 11345 | 2023-03-31 | RAVI | #N/A | #N/A
55 | QJFMTS22239295 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4503999251 | 25-03-2023 | 10SQMM 4CORE COPPER FLEXIBLE CABLE REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 36962 | 2217.72 | 7052.35 | 46232 | #N/A | #N/A | Arihanth Switch Gears-32320.00(31-03-2023),Ch.Srinivasa Rao-150.00(31-03-2023), | 32470 | 2023-03-31 | RAVI | #N/A | #N/A
Formulas:
Bill received Date = VLOOKUP([Quotation No],'[1]Bills certification'!$C4:F1048576,4,0)
Certification Date = VLOOKUP([Quotation No],'[1]Bills certification'!$C4:H1048576,6,0)