## 30.03.2023
SNo | Quotation No | Supervisor | Coordinator | Store Name | Store Code | Store Type | Ro Num | Ro Date | Fault Description | RO Amount | Service Fee | GST | Total | Requested Amount | Balance Amount | GST Type | GST Amount | Remarks | Advance Amount | Whom to be Invest Amount | Approved Amount | Rq Approved Date | User
1 | QJFMTS22239058 | K.KARTHIK | CH.RAJESH | MOTINAGAR | SL73 | MINI FC | 63652144 | 23-03-2023 | CHARGES FOR RENTAL DG | 36000 | 2160 | 6868.8 | 45029 | 35500 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 35500 | 30-03-2023 | RASHEED
2 | QJFMTS22239908 | K.KARTHIK | CH.RAJESH | MOTINAGAR | SL73 | MINI FC | 63652061 | 23-03-2023 | CHARGES FOR RENTAL DG | 36000 | 2160 | 6868.8 | 45029 | 35500 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 35500 | 30-03-2023 | RASHEED
3 | QJFMTS22240024 | K.KARTHIK | CH.RAJESH | MAHABOOBNAGAR | TI67 | SMART | 4504036458 | 27-03-2023 | GOODS LIFT WORK REQUIRED | 5400 | 324 | 1030.32 | 6754 | 5300 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 5300 | 30-03-2023 | RASHEED
4 | QJFMTS22240181 | K.KARTHIK | CH.RAJESH | SP PURUSHOTHAM COMPLEX KALWAKURTHY | U762 | SMART POINT | 4504042406 | 30-03-2023 | PESTO FLASH LIGHT DRIVER REQUIRED | 1120 | 67.2 | 213.7 | 1401 | 1000 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 1000 | 30-03-2023 | RASHEED
5 | QJFMTS22240130 | M.KRISHNA KUMAR | CH.RAJESH | WARANGAL MINI FC | SLGO | MINI FC | APPROVAL GIVEN | 30-03-2023 | WASH ROOM WATER PIPES REPAIR WORK | 2245 | 134.7 | 428.35 | 2808 | 1820 | 0 | WITHOUT GST | 0 |  |  | M.KRISHNA KUMAR (WGL) | 1820 | 30-03-2023 | RAJESHCH
6 | QJFMTS22240162 | G.SUNIL | CH.RAJESH | BANSWADA | TFZ8 | TRENDS EXPRESS | 4504034499 | 30-03-2023 | STAIR CASE SIDE TILES REQUIRED | 2500 | 90 | 566.2 | 3156 | 2200 | 0 | WITHOUT GST | 0 |  |  | K.SRINIVAS-2 | 2200 | 30-03-2023 | RAJESHCH
7 | QJFMTS22239959 | V.AJAY KUMAR | CH.RAJESH | KAMAREDDY | TY90 | RELIANCE DIGITAL | 4504034505 | 30-03-2023 | STORE LIFT DOOR REPAIR WORK | 5700 | 342 | 1087.56 | 7130 | 5300 | 0 | WITHOUT GST | 0 |  |  | K.SRINIVAS-2 | 5300 | 30-03-2023 | RAJESHCH
8 | QJFMTS22239977 | S.KRISHNA | CH.RAJESH | SP KHAMMAM CHALLAPALLI ARCADE | U662 | SMART POINT | 4091474318/4504033948 | 27-03-2023 | PDB MCB 1 NO REQUIRED | 1777 | 12 | 322.02 | 2111 | 1466 | 0 | WITH GST | 224 |  |  | KESAR ELECTRIC INDIA | 1466 | 30-03-2023 | RASHEED
9 | QJFMTS22239254 | G.SUNIL | CH.RAJESH | VRK SLIKES OPP TO VAMSHI HOTEL | TY9N | TRENDS | APPROVAL GIVEN | 27-03-2023 | INSULATION MAT REQUIRED IN THE TRANSFORMER AREA | 13700 | 12 | 2468.16 | 16180 | 600 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 11013 | 30-03-2023 | RAJESHCH
10 | QJFMTS22239254 | G.SUNIL | CH.RAJESH | VRK SLIKES OPP TO VAMSHI HOTEL | TY9N | TRENDS | APPROVAL GIVEN | 27-03-2023 | INSULATION MAT REQUIRED IN THE TRANSFORMER AREA | 13700 | 12 | 2468.16 | 16180 | 10413 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 11013 | 30-03-2023 | RAJESHCH
11 | QJFMTS22240039 | E.MANIKANTA | K.SANJAY | AMEERPET | TZCE | FOOT PRINT | 4504025153 | 30-03-2023 | SHUTTER BEARING AND GREASING OF ROLLING SHUTTER REQUIRED | 7296 | 0 | 1313.28 | 8609 | 6500 | 0 | WITHOUT GST | 0 |  |  | EEGALAPATI MANIKANTA -TS-2 | 6500 | 31-03-2023 | SANJAY
12 | QJFMTS22237480 | K.KARTHIK | CH.RAJESH | INDIRA CHOWK | 3609 | RELIANCE DIGITAL MINI | APPROVAL GIVEN | 28-03-2023 | ENTRANCE DOOR HANDLE REQUIRED | 2750 | 48 | 503.64 | 3302 | 500 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 500 | 29-03-2023 | RAJESHCH
13 | QJFMTS22237480 | K.KARTHIK | CH.RAJESH | INDIRA CHOWK | 3609 | RELIANCE DIGITAL MINI | APPROVAL GIVEN | 28-03-2023 | ENTRANCE DOOR HANDLE REQUIRED | 2750 | 48 | 503.64 | 3302 | 200 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1793 | 29-03-2023 | RAJESHCH
14 | QJFMTS22237480 | K.KARTHIK | CH.RAJESH | INDIRA CHOWK | 3609 | RELIANCE DIGITAL MINI | APPROVAL GIVEN | 28-03-2023 | ENTRANCE DOOR HANDLE REQUIRED | 2750 | 48 | 503.64 | 3302 | 1593 | 0 | WITH GST | 243 |  |  | CH.SRINIVASA RAO | 1793 | 29-03-2023 | RAJESHCH
15 | QJFMTS22239451 | A.PRAMOD | K.SANJAY | BB-MADHAPUR ,INORBIT BIG BAZAR | FRBM | SMART BAZAR | 4504028046 | 29-03-2023 | AHU FILTERS REQUIRED QUOTE -2 | 37704 | 2262.24 | 7193.92 | 47160 | 20000 | 16960 | WITHOUT GST | 0 |  |  | ARJUNAMANTHULA VIJAY PRAMOD CHAKRADHAR | 20000 | 29-03-2023 | SANJAY
16 | QJFMTS22239915 | A.PRAMOD | K.SANJAY | BB-MADHAPUR ,INORBIT BIG BAZAR | FRBM | SMART BAZAR | 4504028047 | 29-03-2023 | AHU MOTORS BELTS REQUIRED IN THE STORE | 11500 | 690 | 2194.2 | 14384 | 11270 | 0 | WITHOUT GST | 0 | JMS REC RS 1000 |  | ARJUNAMANTHULA VIJAY PRAMOD CHAKRADHAR | 11250 | 30-03-2023 | SANJAY
17 | QJFMTS22239851 | BANKURU RAKESH | K.SANJAY | HI-TECH CITY | 9090 | TRENDS | 4504028048 | 29-03-2023 | STEEL PLATES REQUIRED FOR FLOOR HOLES CLOSING PURPOSE REQUIRED IN THE STORE | 3700 | 222 | 705.96 | 4628 | 3400 | 0 | WITHOUT GST | 0 |  |  | KOJJARAPU SRINIVAS | 3400 | 30-03-2023 | SANJAY
18 | QJFMTS22238751 | KOJJARAPU .SRINIVAS | K.SANJAY | KUKATPALLY | 8005 | TRENDS | 4504044356 | 29-03-2023 | REQUIRED OVERHEAD TANK CLEANING | 12500 | 750 | 2385 | 15635 | 12000 | 0 | WITHOUT GST | 0 |  |  | KOJJARAPU SRINIVAS | 12000 | 30-03-2023 | SANJAY
19 | QJFMTS22238955 | MD.ZUMER | M.RAVI | NEW ALWAL | 2008 | SMART POINT | 4504030867 | 25-03-2023 | 250 AMPS 4POLE MCCB REQUIRED IN THE STORE | 20460 | 1227.6 | 3903.77 | 25591 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 29-03-2023 | RAVI
20 | QJFMTS22238955 | MD.ZUMER | M.RAVI | NEW ALWAL | 2008 | SMART POINT | 4504030867 | 25-03-2023 | 250 AMPS 4POLE MCCB REQUIRED IN THE STORE | 20460 | 1227.6 | 3903.77 | 25591 | 16756 | 0 | WITH GST | 2556 |  |  | ARIHANTH SWITCH GEARS | 16756 | 29-03-2023 | RAVI
21 | QJFMTS22239962 | KOJJARAPU .SRINIVAS | K.SANJAY | JUBILEE HILLS FASHION FACTORY | F1WD | JUBILEE HILLS FASHION FACTORY | 4504044355 | 29-03-2023 | 11KV TRANSFORMER END KIT REPLACEMENT WORK REQUIRED IN THE STORE | 7650 | 459 | 1459.62 | 9569 | 7500 | 0 | WITHOUT GST | 0 |  |  | KOJJARAPU SRINIVAS | 7500 | 30-03-2023 | SANJAY
22 | QJFMTS22239295 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4503999251 | 25-03-2023 | 10SQMM 4CORE COPPER FLEXIBLE CABLE REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 36962 | 2217.72 | 7052.35 | 46232 | 150 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 150 | 29-03-2023 | RAVI
23 | QJFMTS22239295 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4503999251 | 25-03-2023 | 10SQMM 4CORE COPPER FLEXIBLE CABLE REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 36962 | 2217.72 | 7052.35 | 46232 | 32320 | 0 | WITH GST | 4930 |  |  | ARIHANTH SWITCH GEARS | 32320 | 29-03-2023 | RAVI
24 | QJFMTS22239296 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4091186291 | 25-03-2023 | MCB REQUIRED FOR HVAC POWER POINT CABLE ERECTION WORK | 12176 | 0 | 2191.68 | 14368 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 29-03-2023 | RAVI
25 | QJFMTS22239296 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4091186291 | 25-03-2023 | MCB REQUIRED FOR HVAC POWER POINT CABLE ERECTION WORK | 12176 | 0 | 2191.68 | 14368 | 11245 | 0 | WITH GST | 1715 |  |  | ARIHANTH SWITCH GEARS | 11245 | 29-03-2023 | RAVI
26 | QJFMTS22239349 | P.KIRAN KUMAR | A.S.N.SOWJANYA | KFPL CHANDA NAGAR KAMAKSHI | TY9M | KALANIKETHAN | 4504043350 | 24-03-2023 | COPPER CORE CABLE & INSULATION TAPE REQUIRED FOR AC REPAIRING. | 15490 | 0 | 2788.2 | 18278 | 500 | 0 | WITHOUT GST | 0 |  |  | P.KIRAN KUMAR | 500 | 30-03-2023 | SANJAY
27 | QJFMTS22239349 | P.KIRAN KUMAR | A.S.N.SOWJANYA | KFPL CHANDA NAGAR KAMAKSHI | TY9M | KALANIKETHAN | 4504043350 | 24-03-2023 | COPPER CORE CABLE & INSULATION TAPE REQUIRED FOR AC REPAIRING. | 15490 | 0 | 2788.2 | 18278 | 13080 | 0 | WITH GST | 1995.26 |  |  | SRI RAMA ELECTRICALS | 13080 | 30-03-2023 | SANJAY
28 | QJFMTS22239953 | B.SUMAN NAIK | M.SUJITHA | AMBERPET | U455 | SMART POINT | 4503999248 | 25-03-2023 | 100W LED FLOOD LIGHT REPLACEMENT WORK REQUIRED IN THE STORE | 2000 | 120 | 381.6 | 2502 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 29-03-2023 | RAVI
29 | QJFMTS22239953 | B.SUMAN NAIK | M.SUJITHA | AMBERPET | U455 | SMART POINT | 4503999248 | 25-03-2023 | 100W LED FLOOD LIGHT REPLACEMENT WORK REQUIRED IN THE STORE | 2000 | 120 | 381.6 | 2502 | 1711 | 0 | WITH GST | 261 |  |  | ARIHANTH SWITCH GEARS | 1711 | 29-03-2023 | RAVI
30 | QJFMTS22239106 | E.SUCHARITH | M.RAVI | AVANTHRA | TWB2 | TRENDS WOMEN | 4091644740 | 28-03-2023 | 40A FP AND 63A FP MCBS REQUIRED IN THE STORE | 3154 | 0 | 567.72 | 3722 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 29-03-2023 | RAVI
31 | QJFMTS22239106 | E.SUCHARITH | M.RAVI | AVANTHRA | TWB2 | TRENDS WOMEN | 4091644740 | 28-03-2023 | 40A FP AND 63A FP MCBS REQUIRED IN THE STORE | 3154 | 0 | 567.72 | 3722 | 2950 | 0 | WITH GST | 450 |  |  | ARIHANTH SWITCH GEARS | 2950 | 29-03-2023 | RAVI
32 | QJFMTS22239942 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 6728 | SMART | 4504030398 | 25-03-2023 | DB & LT PANEL LOCKS REQUIRED IN THE STORE | 2075 | 124.5 | 395.91 | 2595 | 1475 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1475 | 29-03-2023 | RAVI
33 | QJFMTS22239944 | B.SUMAN NAIK | M.SUJITHA | SHIVAM RD | 8823 | DIGITAL | 4503999245 | 25-03-2023 | 8-PORT HDMI SPLITTER ADOPTERS REQUIRED IN THE STORE | 10750 | 645 | 2051.1 | 13446 | 12390 | 0 | WITH GST | 1890 | GST BILL REQ HOLD RS 1890 |  | B.SUMAN NAIK | 12390 | 29-03-2023 | RAVI
34 | QJFMTS22239854 | E.SUCHARITH | M.RAVI | VANASTHALIPURAM | 8334 | TRENDS | 4504039452 | 28-03-2023 | 10SQMM 4CORE CABLE REQUIRED FOR INSTALLING THE HVAC UNITS | 20438 | 1029.84 | 3864.21 | 25332 | 150 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 150 | 29-03-2023 | RAVI
35 | QJFMTS22239854 | E.SUCHARITH | M.RAVI | VANASTHALIPURAM | 8334 | TRENDS | 4504039452 | 28-03-2023 | 10SQMM 4CORE CABLE REQUIRED FOR INSTALLING THE HVAC UNITS | 20438 | 1029.84 | 3864.21 | 25332 | 17564 | 0 | WITH GST | 2679 |  |  | ARIHANTH SWITCH GEARS | 17564 | 29-03-2023 | RAVI
36 | QJFMTS22239558 | Y.VEERABABU | M.RAVI | PURANI HAVELI | U11K | SMART POINT | 4088934727 | 09-03-2023 | 40A DP RCCBS REQUIRED IN THE STORE | 3884.12 | 0 | 699.14 | 4583 | 4571 | 0 | WITH GST | 697 |  |  | ARIHANTH SWITCH GEARS | 4571 | 29-03-2023 | RAVI
37 | QJFMTS22239269 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4504003695 | 14-03-2023 | MATERIAL REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 37380 | 2242.8 | 7132.1 | 46755 | 200 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 200 | 29-03-2023 | RAVI
38 | QJFMTS22239269 | B.SUMAN NAIK | M.SUJITHA | NACHARAM | 8961 | DIGITAL | 4504003695 | 14-03-2023 | MATERIAL REQUIRED FOR HVAC MAIN POWER POINT ERECTION WORK | 37380 | 2242.8 | 7132.1 | 46755 | 22667 | 0 | WITH GST | 3458 |  |  | ARIHANTH SWITCH GEARS | 22667 | 29-03-2023 | RAVI
39 | QJFMTS22238679 | T.GANESH | M.RAVI | HEMA DURGA MALL -UPPAL | 8731 | DIGITAL | 4504024265 | 16-03-2023 | 20W 4FEET LED TUBE LIGHTS REQUIRED IN THE STORE | 4700 | 282 | 896.76 | 5879 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 29-03-2023 | RAVI
40 | QJFMTS22238679 | T.GANESH | M.RAVI | HEMA DURGA MALL -UPPAL | 8731 | DIGITAL | 4504024265 | 16-03-2023 | 20W 4FEET LED TUBE LIGHTS REQUIRED IN THE STORE | 4700 | 282 | 896.76 | 5879 | 2832 | 0 | WITH GST | 432 |  |  | ARIHANTH SWITCH GEARS | 2832 | 29-03-2023 | RAVI
41 | QJFMTS22239895 | MD.ZUMER | M.RAVI | ALWAL | 8475 | RELIANCE DIGITAL MINI | APPROVED BY STATE LEAD | 29-03-2023 | GLASS DOOR IS NOT WORKING PROPERLY NEED TO REPAIR | 1500 | 90 | 286.2 | 1876 | 1200 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1200 | 29-03-2023 | RAVI
42 | QJFMTS22239956 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | TY19 | RELIANCE DIGITAL MINI | APPROVED BY STATE LEAD | 27-03-2023 | PLYWOOD CUTTING CHARGES REQUIRED IN THE STORE | 600 | 36 | 114.48 | 750 | 500 | 0 | WITHOUT GST | 0 |  |  | B.SUMAN NAIK | 500 | 29-03-2023 | RAVI
43 | QJFMTS22240015 | MD.ZUMER | M.RAVI | VIKRAMPURI | 8768 | DIGITAL | 4504037468 | 28-03-2023 | CEILING TILES REQUIRED IN THE STORE FOR CLOSING THE GAPS NEAR CASSETTE AC | 7200 | 0 | 1296 | 8496 | 6200 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 6200 | 29-03-2023 | RAVI
44 | QJFMTS22240049 | Y.VEERABABU | M.RAVI | MALAKPET | 8008 | TRENDS | 4504037471 | 28-03-2023 | TILES DAMAGED IN THE STORE, NEED TO REPLACE WITH THE NEW ONES | 24208.88 | 0 | 4357.6 | 28566 | 20800 | 0 | WITHOUT GST | 0 | GST BILL REQ HOLD RS 1000 |  | Y.VEERA BABU | 20800 | 29-03-2023 | RAVI
45 | QJFMTS22240038 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4504030397 | 25-03-2023 | INVERTER BATTERY TERMINAL CAPS REQUIRED IN THE STORE | 2525 | 151.5 | 481.77 | 3158 | 1855 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1855 | 29-03-2023 | RAVI
46 | QJFMTS22239537 | Y.VEERABABU | M.RAVI | KOTHAPET | 8834 | DIGITAL | 4504009525 | 07-03-2023 | 4 CORE 6SQMM CABLE REQUIRED IN THE STORE | 3050 | 0 | 549 | 3599 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 29-03-2023 | RAVI
47 | QJFMTS22239537 | Y.VEERABABU | M.RAVI | KOTHAPET | 8834 | DIGITAL | 4504009525 | 07-03-2023 | 4 CORE 6SQMM CABLE REQUIRED IN THE STORE | 3050 | 0 | 549 | 3599 | 3068 | 0 | WITH GST | 468 |  |  | ARIHANTH SWITCH GEARS | 3068 | 29-03-2023 | RAVI
48 | QJFMTS22239280 | T.GANESH | M.RAVI | SURVEY OF INDIA | 2021 | FRESH | APPROVED BY STATE LEAD | 15-03-2023 | AWNING REPAIR WORK REQUIRED IN THE STORE | 31450 | 1887 | 6000.66 | 39338 | 36344 | 0 | WITH GST | 5544 |  |  | SHAKTHI SHARMA | 36344 | 29-03-2023 | RAVI
49 | QJFMTS22240120 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4504037476 | 28-03-2023 | MS STAND REQUIRED FOR INVERTER | 15600 | 936 | 2976.48 | 19512 | 10500 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 10500 | 29-03-2023 | RAVI
50 | QJFMTS22238990 | E.SUCHARITH | M.RAVI | MAZURABAD | TWRJ | TRENDS JUNIOR | 4504037465 | 28-03-2023 | HEALTH FAUCET DAMAGED IN THE WASH ROOM, NEED TO REPLACE | 1469 | 0 | 264.42 | 1733 | 1200 | 0 | WITHOUT GST | 0 |  |  | E.SUCHARITH | 1200 | 29-03-2023 | RAVI
51 | QJFMTS22240068 | B.SUMAN NAIK | M.SUJITHA | SHIVAM RD | 8823 | DIGITAL | 4504030395 | 25-03-2023 | UPS TERMINAL BATTERIES REQUIRED IN THE STORE | 2395 | 143.7 | 456.97 | 2996 | 1585 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1585 | 29-03-2023 | RAVI
52 | QJFMTS22239722 | K.OBULESH | K.SANJAY | KFPL JUBILEE HILLS KALANIKETHAN | TY9P | KALANIKETHAN | 4504044353 / 4504037483 | 29-03-2023 | LED T5 BATTAN LIGHTS REQUIRED IN THE STORE | 7060 | 302.4 | 1325.23 | 8688 | 6100 | 0 | WITH GST | 930.51 |  |  | K.OBULESU | 6100 | 30-03-2023 | SANJAY
53 | QJFMTS22239124 | M.KRISHNA KUMAR | CH.RAJESH | POCHAMMA MAIDAN | 2402 | SMART | 4504001552 | 10-03-2023 | LIFT OLD GATE DAMAGED AND NEW GATE REPLACEMENT | 16078.26 | 964.7 | 3067.73 | 20111 | 18599 | 0 | WITH GST | 2837 | GST BILL REQ HOLD RS 2850 |  | M.KRISHNA KUMAR (WGL) | 18599 | 29-03-2023 | RASHEED
54 | QJFMTS22240154 | B.VENKANNA | K.SANJAY | THE WHITE CROW BANJARA HILLS | THB0 | BRANDS | 4504028907 | 28-03-2023 | WOODEN POLISHING REQUIRED IN THE STORE | 3500 | 210 | 667.8 | 4378 | 3100 | 0 | WITHOUT GST | 0 |  |  | B.VENKANNA | 3100 | 29-03-2023 | SANJAY
55 | QJFMTS22239543 | M.KRISHNA KUMAR | CH.RAJESH | HANUMAKONDA,RELIANCE RETAIL LIMITED | T1TU | TRENDS | 4504032325 | 28-03-2023 | HVAC OUTDOOR FAN MOTOR REPAIR WORK | 1670 | 100.2 | 318.64 | 2089 | 1500 | 0 | WITHOUT GST | 0 |  |  | M.KRISHNA KUMAR (WGL) | 1500 | 29-03-2023 | RASHEED
56 | QJFMTS22239938 | M.KRISHNA KUMAR | CH.RAJESH | HANUMAKONDA | 8352 | FOOTPRINT | APPROVAL GIVEN | 27-03-2023 | HVAC OUT DOOR UNITS MCBS REQUIRED | 6590 | 176.4 | 1217.95 | 7984 | 2000 | 4590 | WITHOUT GST | 0 |  |  | M.KRISHNA KUMAR (WGL) | 2000 | 29-03-2023 | RASHEED
57 | QJFMTS22240116 | M.KRISHNA KUMAR | CH.RAJESH | BHUPALPALLY ,SMART POINT | U30C | SMART POINT | 4504028912 | 28-03-2023 | CHARGES FOR HVAC OUTDOOR WALL CUTTING WORK | 8430 | 505.8 | 1608.44 | 10544 | 7750 | 0 | WITHOUT GST | 0 |  |  | M.KRISHNA KUMAR (WGL) | 7750 | 29-03-2023 | RASHEED
58 | QJFMTS22239781 | G.SURESH | K.SANJAY | KFPL KUKATPALLY WOMENS WORLD | TY5S | KALANIKETHAN | 4504028908 / 4504028909 | 28-03-2023 | LED LIGHT, SIGNAGE BOARD,CABLE REQUIRED IN THE STORE | 12600 | 471 | 2352.78 | 15424 | 8300 | 0 | WITH GST | 1266.11 |  |  | GUDISELA SURESH | 8300 | 29-03-2023 | SANJAY
59 | QJFMTS22238484 | E.MANIKANTA | K.SANJAY | YUSUF GUDA | 2006 | SMART POINT | 4504028914 | 28-03-2023 | CEALING TILES REQUIRED IN STORE | 4800 | 0 | 864 | 5664 | 4400 | 0 | WITHOUT GST | 0 |  |  | EEGALAPATI MANIKANTA -TS-2 | 4400 | 29-03-2023 | SANJAY
60 | QJFMTS22239526 | G.SURESH | K.SANJAY | KFPL MP REDDY TOWERS KUKATPALL | TY5P | KALANIKETHAN | 4504028907 | 28-03-2023 | SECOND FLOOR ENTRANCE GLASS WORK REQUIRED IN THE STORE | 15979.95 | 0 | 2876.39 | 18856 | 14000 | 0 | WITHOUT GST | 0 |  |  | GUDISELA SURESH | 14000 | 29-03-2023 | SANJAY
61 | QJFMTS22239692 | G.SURESH | K.SANJAY | KUKATPALLY - 2 | 5791 | TRENDS | 4504001556 | 10-03-2023 | SCAFFOLDING & ENTRANCE ACP SHEET REQUIRED IN THE STORE | 31165 | 1869.9 | 5946.28 | 38981 | 20000 | 0 | WITHOUT GST | 0 |  |  | GUDISELA SURESH | 20000 | 28-03-2023 | SANJAY
62 | QJFMTS22238869 | P.KIRAN KUMAR | A.S.N.SOWJANYA | MILK BASKET DC | TXJA | MILK BASKET DC | 4504043340 | 28-03-2023 | CIVIL WORK REQUIRED FOR COLD ROOM INSIDE AND NEW MOTOR INSTALLATION WORK | 29450 | 1767 | 5619.06 | 36836 | 27000 | 0 | WITHOUT GST | 0 | CEMET BAG 8NOS GST BILL REQ HOLS RS 2000 |  | P.KIRAN KUMAR | 27000 | 29-03-2023 | SANJAY
63 | QJFMTS22239705 | S.KRISHNA | CH.RAJESH | YS TOWER KHAMMAM | TY23 | DIGITAL | 4504036462 | 27-03-2023 | MOBILE COUNTER LOCKS REQUIRED | 6400 | 384 | 1221.12 | 8005 | 6000 | 0 | WITHOUT GST | 0 |  |  | S.KRISHNA -2 | 6000 | 28-03-2023 | RAJESHCH
64 | QJFMTS22239306 | B.NAGARAJU | K.SANJAY | NARSINGHI | TFQ2 | TRENDS | 4504005556 | 10-03-2023 | PAINTING WORK REQUIRED IN STORE | 29185.8 | 0 | 5253.44 | 34439 | 4000 |  | WITHOUT GST | 0 |  | 20000 | S.RAMACHANDRA RAO | 4000 | 29-03-2023 | SANJAY
65 | QJFMTS22240096 | P.KIRAN KUMAR | K.SANJAY | BEERAMGUDA | TAUE | TRENDS | 4504039447 | 28-03-2023 | 6MM TRAIL ROOM MIRROR REQUIRED IN THE STORE | 10400 | 0 | 1872 | 12272 | 9500 | 0 | WITHOUT GST | 0 | JMS REC RS 1000 |  | P.KIRAN KUMAR | 9500 | 29-03-2023 | SANJAY
66 | QJFMTS22240044 | K.KARTHIK | CH.RAJESH | MAHABOOBNAGAR | TI67 | SMART | 4504036457 | 27-03-2023 | ENTRANCE STEEL RAILING WORK REQUIRED | 5100 | 306 | 973.08 | 6379 | 5000 | 0 | WITHOUT GST | 0 | JMS REC RS 500 |  | K.KARTHIK | 5000 | 28-03-2023 | RAJESHCH
67 | QJFMTS22239534 | G.SUNIL | CH.RAJESH | VRK SLIKES OPP TO VAMSHI HOTEL | TY9N | TRENDS | 4504030400/4504030401 | 27-03-2023 | STORE ENTRANCE RED CARPET REQUIRED | 6566.92 | 234 | 1224.17 | 8025 | 2000 | 0 | WITHOUT GST | 0 |  |  | BOSS | 2000 | 27-03-2023 | RASHEED
68 | QJFMTS22239534 | G.SUNIL | CH.RAJESH | VRK SLIKES OPP TO VAMSHI HOTEL | TY9N | TRENDS | 4504030400/4504030401 | 27-03-2023 | STORE ENTRANCE RED CARPET REQUIRED | 6566.92 | 234 | 1224.17 | 8025 | 4000 | 0 | WITHOUT GST | 0 |  |  | K.SRINIVAS-2 | 4000 | 27-03-2023 | RASHEED
69 | QJFMTS22235690 | M.KRISHNA KUMAR | CH.RAJESH | ALANKAR CHOWRASTHA | 6714 | SUPER | 4504003019 | 10-03-2023 | WALL PARTITION REQUIRED WITH POP WORK REQUIRED | 104652 | 0 | 18837.36 | 123489 | 46900 | 0 | WITHOUT GST | 0 | JMS REC RS 5000 | 50000 | M.KRISHNA KUMAR (WGL) | 46000 | 27-03-2023 | RASHEED
70 | QJFMTS22240053 | M.MAHENDAR | CH.RAJESH | GODAVARIKHANI | 6410 | MINI DX | APPROVAL GIVEN | 27-03-2023 | S/F OF ENTRANCE GLASS DOOR WORK | 15763.1 | 210 | 2875.16 | 18848 | 13800 | 0 | WITHOUT GST | 0 | JMS REC RS 2000 |  | M.SIVIAJI | 13800 | 27-03-2023 | RAJESHCH
71 | QJFMTS22239635 | P.KIRAN KUMAR | A.S.N.SOWJANYA | GSM CENTRAL | F1LI | CENTRO TRENDS | 4504028416 | 24-03-2023 | PILLER DRIVES REQUIRED IN THE STORE | 23500 | 1410 | 4483.8 | 29394 | 6608 | 0 | WITH GST | 1008 | GST BILL REQ HOLD RS 1008 |  | P.KIRAN KUMAR | 26019 | 28-03-2023 | SANJAY
72 | QJFMTS22239635 | P.KIRAN KUMAR | A.S.N.SOWJANYA | GSM CENTRAL | F1LI | CENTRO TRENDS | 4504028416 | 24-03-2023 | PILLER DRIVES REQUIRED IN THE STORE | 23500 | 1410 | 4483.8 | 29394 | 19411 | 0 | WITH GST | 2961 | GST BILL REQ HOLD RS 2961.00 |  | P.KIRAN KUMAR | 26019 | 28-03-2023 | SANJAY
73 | QJFMTS22239569 | P.KIRAN KUMAR | A.S.N.SOWJANYA | KFPL CHANDA NAGAR KAMAKSHI | TY9M | KALANIKETHAN | 4504042866/4504042865 | 24-03-2023 | CABLE REQUIRED FOR STABILIZER INSTALLATION PURPOSE | 8717.14 | 240 | 1612.28 | 10569 | 8000 | 0 | WITHOUT GST | 0 |  |  | P.KIRAN KUMAR | 8000 | 28-03-2023 | SANJAY
74 | QJFMTS22240026 | S.KRISHNA | CH.RAJESH | PALAVANCHA,SMART POINT | U2PX | SMART POINT | 4504036456 | 27-03-2023 | CHARGES FOR SHUTTER REPAIR WORK | 14920.56 | 0 | 2685.7 | 17606 | 13000 | 0 | WITHOUT GST | 0 |  |  | S.KRISHNA -2 | 13000 | 27-03-2023 | RAJESHCH
75 | QJFMTS22240009 | K.OBULESH | K.SANJAY | VIJAY NAGAR COLONY | 7907 | RELIANCE DIGITAL MINI | STATE LEAD APPROVED MAIL RECEIVED | 27-03-2023 | FALSE CEILING TILES REQUIRED IN THE STORE | 2400 | 0 | 432 | 2832 | 1900 | 0 | WITHOUT GST | 0 |  |  | K.OBULESU | 1900 | 28-03-2023 | SANJAY
76 | QJFMTS22240048 | B.VENKANNA | K.SANJAY | STEVE MADDEN JH | 5198 | BRANDS | 4504033946 | 27-03-2023 | FOOT FALL MACHINE INSTALLATION PURPOSE SCAFFOLDING REQUIRED | 9577.44 | 0 | 1723.94 | 11301 | 8500 | 0 | WITHOUT GST | 0 |  |  | S.RAMACHANDRA RAO | 8500 | 28-03-2023 | SANJAY
77 | QJFMTS22239940 | E.MANIKANTA | K.SANJAY | SP PHARMA BANJARA HILLS HYDERABAD | TQS6 | SP PHARMA SIS | STATE LEAD APPROVED MAIL RECEIVED | 27-03-2023 | STORE ENTRANCE SIGNAGE BOARDS REQUIRED IN THE STORE | 770 | 15 | 141.3 | 926 | 700 | 0 | WITHOUT GST | 0 |  |  | EEGALAPATI MANIKANTA -TS-2 | 700 | 28-03-2023 | SANJAY
78 | QJFMTS22239580 | P.KIRAN KUMAR | A.S.N.SOWJANYA | SANGAREDDY | TS18 | TRENDS | 4504043346 /4504043349 | 24-03-2023 | 4ABC FIRE EXTINGUISHER REFILLING REQUIRED IN THE STORE | 1660 | 18 | 302.04 | 1980 | 1400 | 0 | WITHOUT GST | 0 |  |  | P.KIRAN KUMAR | 1400 | 28-03-2023 | SANJAY
79 | QJFMTS22239963 | B.VENKANNA | K.SANJAY | THE WHITE CROW BANJARA HILLS | THB0 | BRANDS | 4504010338 | 24-03-2023 | DOOR CLOSER SET REQUIRED FOR BACK ROOM DOOR | 1534 | 0 | 276.12 | 1810 | 1350 | 0 | WITHOUT GST | 0 |  |  | B.VENKANNA | 1350 | 28-03-2023 | SANJAY
80 | QJFMTS22233830 | V.AJAY KUMAR | CH.RAJESH | ADILABAD | TW87 | TRENDS | 4504030406 | 25-03-2023 | SIGNAGE BOARD BANNER REMOVING & FIXING BY USING ROPE WORK | 13425 | 805.5 | 2561.49 | 16792 | 10000 | 0 | WITHOUT GST | 0 |  |  | V.AJAY | 10000 | 27-03-2023 | RASHEED
81 | QJFMTS22240051 | V.AJAY KUMAR | CH.RAJESH | JEEVAN REDDY MALL ARMOOR | TV14 | SMART | 4504030408 | 25-03-2023 | S/F OF GR ROOM DOOR LOCK CYLINDER REQUIRED | 3100 | 186 | 591.48 | 3877 | 3000 | 0 | WITHOUT GST | 0 |  |  | V.AJAY | 3000 | 27-03-2023 | RASHEED
82 | QJFMTS22239907 | S.KRISHNA | CH.RAJESH | MADHIRA | TKN5 | TRENDS EXPRESS | 4504038815 | 25-03-2023 | BOH CUP BORDS L CLAMPS REQUIRED | 1800 | 108 | 343.44 | 2251 | 1300 | 500 | WITHOUT GST | 0 |  |  | S.KRISHNA -2 | 1300 | 27-03-2023 | RASHEED
SNo | Name | Account No | Bank | IFSC Code | Amount | HOLD | BALANCE | TRANSFERRED | TO PAY
1 | CH.SRINIVASA RAO | 34362010002073 |  | SYNB0003436 | 36721 | 0 | 36721 | 10500 | 26221
2 | S.KRISHNA -2 | 20098209590 |  | SBIN0012906 | 20300 | 0 | 20300 | 12000 | 8300
3 | V.AJAY |  |  |  | 13000 | 0 | 13000 | 3000 | 10000
4 | B.VENKANNA | 30552610000786 |  | SYNB0003055 | 4450 | 0 | 4450 | 0 | 4450
5 | P.KIRAN KUMAR | 33182010001375 |  | SYNB0003318 | 72419 | 6969 | 65450 | 36500 | 28950
6 | EEGALAPATI MANIKANTA -TS-2 | 50100604547501 |  | HDFC0006950 | 11600 | 0 | 11600 | 700 | 10900
7 | S.RAMACHANDRA RAO | 33182180000026 |  | SYNB0003318 | 12500 | 0 | 12500 | 8500 | 4000
8 | K.OBULESU | 30552610000810 |  | CNRB0013055 | 8000 | 0 | 8000 | 0 | 8000
9 | M.SIVIAJI |  |  |  | 13800 | 800 | 13000 | 13000 | 0
10 | M.KRISHNA KUMAR (WGL) |  |  |  | 77669 | 7850 | 69819 | 25000 | 44819
11 | K.SRINIVAS-2 | 038710100032884 |  | UBIN0803871 | 11500 | 0 | 11500 | 11500 | 0
12 | BOSS | 37492010011131 |  | SYNB0003749 | 2000 | 0 | 2000 | 0 | 2000
13 | K.KARTHIK | 35353621325 |  | SBIN0011990 | 82800 | 500 | 82300 | 11800 | 70500
14 | GUDISELA SURESH | 6892700036 |  | IDIB000S289 | 42300 | 0 | 42300 | 42300 | 0
15 | E.SUCHARITH | 3212187149 |  | KKBK0007460 | 1200 | 0 | 1200 | 1200 | 0
16 | SHAKTHI SHARMA | 008800100110217 |  | DLXB0000088 | 36344 | 0 | 36344 | 0 | 36344
17 | ARIHANTH SWITCH GEARS | 041383800000165 |  | YESB0000413 | 115684 | 0 | 115684 | 0 | 115684
18 | Y.VEERA BABU | 33202010017454 |  | SYNB0003320 | 20800 | 1000 | 19800 | 800 | 19000
19 | B.SUMAN NAIK | 34362610002274 |  | SYNB0003436 | 12890 | 1890 | 11000 | 11000 | 0
20 | SRI RAMA ELECTRICALS | 04922900001205 |  | DCBL0000049 | 13080 | 0 | 13080 | 0 | 13080
21 | KOJJARAPU SRINIVAS | 30552610003613 |  | CNRB0000033 | 22900 | 0 | 22900 | 7500 | 15400
22 | ARJUNAMANTHULA VIJAY PRAMOD CHAKRADHAR | 62497969817 |  | SBIN0021914 | 31250 | 1000 | 30250 | 30250 | 0
23 | KESAR ELECTRIC INDIA | 5511897378 |  | KKBK0000464 | 1466 | 0 | 1466 | 0 | 1466
[5 empty] | 664673 | 20009 | 644664 | 225550 | 419114

## 31.03.2023
SNo | Quotation No | Supervisor | Coordinator | Store Name | Store Code | Store Type | Ro Num | Ro Date | Fault Description | RO Amount | Service Fee | GST | Total | Requested Amount | Balance Amount | GST Type | GST Amount | Remarks | Advance Amount | Whom to be Invest Amount | Approved Amount | Rq Approved Date | User
1 | QJFMTS22240028 | S.KRISHNA | CH.RAJESH | KFPL KHAMMAM KALANIKETHAN | TY9K | KALANIKETHAN | 4504042408/4504042412 | 30-03-2023 | ENTRANCE SHUTTER LOCKS REQUIRED | 32055.2 | 1052.4 | 5959.38 | 39067 | 6732 | 0 | WITHOUT GST | 0 |  |  | BOSS | 6732 | 31-03-2023 | RAJESHCH
2 | QJFMTS22240028 | S.KRISHNA | CH.RAJESH | KFPL KHAMMAM KALANIKETHAN | TY9K | KALANIKETHAN | 4504042408/4504042412 | 30-03-2023 | ENTRANCE SHUTTER LOCKS REQUIRED | 32055.2 | 1052.4 | 5959.38 | 39067 | 23268 | 0 | WITHOUT GST | 0 |  |  | S.KRISHNA -2 | 23268 | 31-03-2023 | RAJESHCH
3 | QJFMTS22238269 | VENKATA SUBBAIAH | K.SANJAY | BB-HYDERABAD-AMIRIKUKKATPALLI | FRBI | SMART BAZAR | 4503966653 | 03-02-2023 | SCAFFOLDING WORK REQUIRED IN STORE | 158400 | 0 | 28512 | 186912 | 110000 | 0 | WITHOUT GST | 0 | JMS TOTAL HOLD RS 110000 |  | GUDISELA SURESH | 110000 | 31-03-2023 | SANJAY
4 | QJFMTS22239535 | P.KIRAN KUMAR | A.S.N.SOWJANYA | KFPL CHANDANAGAR VRK | TY5U | KALANIKETHAN | 4504043345 / 4504043348 | 24-03-2023 | STABILIZER INSTALLATIONS CABLE WORK REQUIRED IN THE STORE | 10088.15 | 423 | 1892.01 | 12403 | 9400 | 0 | WITHOUT GST | 0 | JMS REC RS 1000 |  | P.KIRAN KUMAR | 9400 | 31-03-2023 | SANJAY
5 | QJFMTS22237244 | K.OBULESH | K.SANJAY | BANDLAGUDA | TS34 | SMART | 4088115463/4504014035 | 06-03-2023 | TRANSFORMER FILTRATION AND LBS SERVICE REQUIRED IN THE STORE | 17500 | 582 | 3254.76 | 21337 | 17700 | 0 | WITH GST | 2700 | GST BILL REQ HOLD RS 2700 |  | S.RAMACHANDRA RAO | 17700 | 31-03-2023 | SANJAY
6 | QJFMTS22239363 | K.OBULESH | K.SANJAY | NMDC | 8006 | TRENDS | 4504024973 | 22-03-2023 | TRAIL ROOM LIGHTS DRIVERS REQUIRE | 7290 | 0 | 1312.2 | 8602 | 8250 | 0 | WITH GST | 1258.48 |  |  | ARIHANT LIGHTING -TS | 8250 | 31-03-2023 | SANJAY
7 | QJFMTS22240022 | G.SUNIL | CH.RAJESH | NIZAMABAD | 9410 | TRENDS | 4504015310 | 31-03-2023 | BRAND HEADERS LED DRIVERS REQUIRED | 9440 | 566.4 | 1801.15 | 11808 | 9200 | 0 | WITHOUT GST | 0 |  |  | K.SRINIVAS-2 | 9000 | 31-03-2023 | RASHEED
8 | QJFMTS22240163 | G.SUNIL | CH.RAJESH | VRK SLIKES OPP TO VAMSHI HOTEL | TY9N | TRENDS | 4504015309 | 31-03-2023 | STORE ENTRANCE FACED GLASS CLEANING REQUIRED | 9300 | 0 | 1674 | 10974 | 8000 | 0 | WITHOUT GST | 0 |  |  | K.SRINIVAS-2 | 8000 | 31-03-2023 | RASHEED
9 | QJFMTS22238814 | S.KRISHNA | CH.RAJESH | VYRA ROAD, KHAMMAM | 8679 | DIGITAL | 4504039974 | 31-03-2023 | HT YARD ENTRANCE GATE REQUIRED | 3750 | 225 | 715.5 | 4691 | 3600 | 0 | WITHOUT GST | 0 |  |  | S.KRISHNA -2 | 3500 | 31-03-2023 | RASHEED
10 | QJFMTS22238185 | S.KRISHNA | CH.RAJESH | VYRA ROAD, KHAMMAM | 8302 | FOOTPRINT | 4504042403 | 30-03-2023 | WASH ROOM TILES REPLACEMENT REPAIR WORK | 6505.64 | 0 | 1171.02 | 7677 | 5800 | 0 | WITHOUT GST | 0 |  |  | S.KRISHNA -2 | 5800 | 31-03-2023 | RASHEED
11 | QJFMTS22240119 | M.KRISHNA KUMAR | CH.RAJESH | WADDEPALLI | TTL4 | TRENDS | 4504042918 | 31-03-2023 | CHARGES FOR NEW POWER CONNECTION FOR TITAN BRAND TILES REPLACEMENT WORK | 2550 | 153 | 486.54 | 3190 | 2500 | 0 | WITHOUT GST | 0 |  |  | M.KRISHNA KUMAR (WGL) | 2400 | 31-03-2023 | RASHEED
12 | QJFMTS22239872 | M.KRISHNA KUMAR | CH.RAJESH | MADOS | TL07 | SMART | 4092049111/4504039966 | 31-03-2023 | S/F OF HVAC OUTDOOR MCBS | 3354 | 12 | 605.88 | 3972 | 2932 | 0 | WITH GST | 447.25 |  |  | KESAR ELECTRIC INDIA | 2932 | 31-03-2023 | RASHEED
13 | QJFMTS22240121 | M.KRISHNA KUMAR | CH.RAJESH | HANUMAKONDA | 8736 | DIGITAL | 4504028904/4504028905 | 28-03-2023 | S/F OF MANS WASH ROOM EXHAUST FAN | 1952 | 18 | 354.6 | 2325 | 1250 | 0 | WITH GST | 190.68 |  |  | PIONEER TRADING | 1250 | 31-03-2023 | RASHEED
14 | QJFMTS22240171 | B.SUMAN NAIK | M.SUJITHA | KACHIGUDA | 8824 | DIGITAL | 4504042920 | 31-03-2023 | ANTI SKID TAPE REQUIRED FOR STEPS IN THE STORE | 4680 | 0 | 842.4 | 5522 | 2950 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 2950 | 31-03-2023 | RAVI
15 | QJFMTS22240000 | M.VENKATA SUBBA RAO | M.SUJITHA | DAMMAIGUDA | TTO9 | TRENDS JUNIOR | 4504028053 | 29-03-2023 | LED DRIVES REQUIRED FOR BRAND HEADERS IN THE STORE | 3150 | 189 | 601.02 | 3940 | 2700 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 2700 | 31-03-2023 | RAVI
16 | QJFMTS22237764 | M.VENKATA SUBBA RAO | M.SUJITHA | KUSHAIGUDA | TQX0 | SP PHARMA SIS | APPROVED BY STATE LEAD | 17-03-2023 | LOCKS AND IRON CHANNELS REQUIRED IN THE STORE | 31100 | 1668 | 5898.24 | 38666 | 24400 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 24000 | 31-03-2023 | RAVI
17 | QJFMTS22239837 | Y.VEERABABU | M.RAVI | RK PURAM | TP56 | DIGITAL | 4504028106 | 31-03-2023 | GRANITE AND SINK REPLACEMENT WORK REQUIRED IN THE STORE | 14806 | 465 | 2748.78 | 18020 | 14000 | 0 | WITHOUT GST | 0 | JMS REC RS 2000 |  | Y.VEERA BABU | 14000 | 31-03-2023 | RAVI
18 | QJFMTS22238027 | M.VENKATA SUBBA RAO | M.SUJITHA | AS RAO NAGAR | TG91 | TRENDS | 4504006265 | 30-03-2023 | CARPENTRY WORK REQUIRED WITH WATER PROOF SHEETS AT STAIR CASE WALLS IN THE STORE | 72952.54 | 4154.64 | 13879.3 | 90986 | 65000 | 0 |  | 0 | 19/12 MM WPC BOARDS GST BILLHLD RS 5000 |  | CH.SRINIVASA RAO | 65000 | 31-03-2023 | RAVI
19 | QJFMTS22240156 | E.SUCHARITH | M.RAVI | LB NAGAR | TH32 | TRENDS | 4504042919 | 31-03-2023 | PAINT WORK REQUIRED IN GROUND FLOOR JEWELLERY SECTION | 17138 | 0 | 3084.84 | 20223 | 15000 | 0 | WITHOUT GST | 0 | PAINTING GST &JMS HOLD RS 2000 |  | E.SUCHARITH | 15000 | 31-03-2023 | RAVI
20 | QJFMTS22239918 | M.KRISHNA KUMAR | CH.RAJESH | MADOS | TL07 | SMART | 4504024974/4504024976 | 23-03-2023 | FIRE CYLINDERS FILLING REQUIRED | 1786 | 36 | 327.96 | 2150 | 800 | 0 | WITHOUT GST | 0 |  |  | PAVAN FIRE | 800 | 31-03-2023 | RAJESHCH
21 | QJFMTS22238536 | G.SURESH | K.SANJAY | KFPL KUKATPALLY WOMENS WORLD | TY5S | KALANIKETHAN | 4503967947 | 08-02-2023 | ATS INSTALLATION WORK REQUIRED IN STORE | 27080 | 1624.8 | 5166.86 | 33872 | 26500 | 0 | WITHOUT GST | 0 | ATS INSTALLATION CHARGES HOLD RS 10000 |  | GUDISELA SURESH | 26500 | 31-03-2023 | SANJAY
22 | QJFMTS22239750 | E.MANIKANTA | K.SANJAY | PUNJAGUTTA | 8401 | JEWELS | 4504025552 | 30-03-2023 | CHANDELIER CLEANING | 27540 | 1652.4 | 5254.63 | 34447 | 13000 | 14000 | WITHOUT GST | 0 |  |  | S.RAMACHANDRA RAO | 13000 | 31-03-2023 | SANJAY
23 | QJFMTS22238505 | G.SURESH | K.SANJAY | KFPL MP REDDY TOWERS KUKATPALL | TY5P | KALANIKETHAN | 4503947772 | 08-02-2023 | ATS INSTALLATION WORK REQUIRED IN STORE | 34525 | 2071.5 | 6587.37 | 43184 | 33800 | 0 | WITHOUT GST | 0 | ATS INSTALLATION ,CHARGES HOLD RS 11000 |  | GUDISELA SURESH | 33800 | 31-03-2023 | SANJAY
24 | QJFMTS22240112 | P.KIRAN KUMAR | A.S.N.SOWJANYA | CHANDA NAGAR | TAN2 | TRENDS SMALL TOWN | 4504046348 | 31-03-2023 | PANTRY ROOM FOLDING TABLES REQUIRED IN THE STORE | 2400 | 144 | 457.92 | 3002 | 2200 | 0 | WITHOUT GST | 0 | JMS REC RS 500 |  | P.KIRAN KUMAR | 2200 | 31-03-2023 | SANJAY
25 | QJFMTS22240166 | P.KIRAN KUMAR | K.SANJAY | PLATINUM PRIDE | U2RQ | RELIANCE SMARTPOINT | 4504046346 / 4504046347 | 31-03-2023 | WASH ROOM DOOR FRAME DAMAGED WORK REQUIRED | 4040 | 148.8 | 753.98 | 4943 | 3700 | 0 | WITHOUT GST | 0 | JMS REC RS 1000 |  | P.KIRAN KUMAR | 3700 | 31-03-2023 | SANJAY
26 | QJFMTS22239501 | B.SUMAN NAIK | M.SUJITHA | ACE VENTURES KOTHAPET | TGC4 | SMART | 4091767459 | 29-03-2023 | 40AMPS 2 POLE RCCB REQUIRED IN THE STORE | 2625 | 0 | 472.5 | 3098 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 31-03-2023 | RAVI
27 | QJFMTS22239501 | B.SUMAN NAIK | M.SUJITHA | ACE VENTURES KOTHAPET | TGC4 | SMART | 4091767459 | 29-03-2023 | 40AMPS 2 POLE RCCB REQUIRED IN THE STORE | 2625 | 0 | 472.5 | 3098 | 2784 | 0 | WITH GST | 425 |  |  | ARIHANTH SWITCH GEARS | 2784 | 31-03-2023 | RAVI
28 | QJFMTS22239804 | B.SUMAN NAIK | M.SUJITHA | KACHIGUDA | 8011 | TRENDS | 4504037489 | 29-03-2023 | LED DRIVES REQUIRED FOR BRAND HEADERS IN THE STORE | 8530 | 0 | 1535.4 | 10065 | 150 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 5481 | 31-03-2023 | RAVI
29 | QJFMTS22239804 | B.SUMAN NAIK | M.SUJITHA | KACHIGUDA | 8011 | TRENDS | 4504037489 | 29-03-2023 | LED DRIVES REQUIRED FOR BRAND HEADERS IN THE STORE | 8530 | 0 | 1535.4 | 10065 | 5331 | 0 | WITH GST | 813 | GST BILL REQ HOLD RS 891 |  | CH.SRINIVASA RAO | 5481 | 31-03-2023 | RAVI
30 | QJFMTS22239771 | MD.ZUMER | M.RAVI | KAVADIGUDA | TX58 | TRENDS | 4504037474 | 30-03-2023 | LED DRIVE REQUIRED FOR BRAND HEADER | 3155 | 0 | 567.9 | 3723 | 1050 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 2051 | 31-03-2023 | RAVI
31 | QJFMTS22239771 | MD.ZUMER | M.RAVI | KAVADIGUDA | TX58 | TRENDS | 4504037474 | 30-03-2023 | LED DRIVE REQUIRED FOR BRAND HEADER | 3155 | 0 | 567.9 | 3723 | 1001 | 0 | WITH GST | 153 | GST BILL REQ HOLD RS 150 |  | CH.SRINIVASA RAO | 2051 | 31-03-2023 | RAVI
32 | QJFMTS22240086 | E.SUCHARITH | M.RAVI | LB NAGAR | TH32 | TRENDS | 4091890255 | 31-03-2023 | 63A 2 POLE RCCB REQUIRED IN THE STORE | 2625 | 0 | 472.5 | 3098 | 100 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 100 | 31-03-2023 | RAVI
33 | QJFMTS22240086 | E.SUCHARITH | M.RAVI | LB NAGAR | TH32 | TRENDS | 4091890255 | 31-03-2023 | 63A 2 POLE RCCB REQUIRED IN THE STORE | 2625 | 0 | 472.5 | 3098 | 2784 | 0 | WITH GST | 425 |  |  | ARIHANTH SWITCH GEARS | 2784 | 31-03-2023 | RAVI
34 | QJFMTS22240013 | Y.VEERABABU | M.RAVI | MALAKPET | 8008 | TRENDS | 4504042400 | 30-03-2023 | PAINT WORK REQUIRED IN THE GROUND FLOOR AND FIRST FLOOR | 18746.8 | 0 | 3374.42 | 22121 | 16500 | 0 | WITHOUT GST | 0 | PAINTING GST &JMS HOLD RS 2000 |  | Y.VEERA BABU | 16500 | 31-03-2023 | RAVI
35 | QJFMTS22240165 | M.KRISHNA KUMAR | CH.RAJESH | HUNTER ROAD | TWQJ | TRENDS | 4504039968 | 31-03-2023 | CHARGES FOR NEW POWER CONNECTION FOR TITAN BRAND TILES REPLACEMENT WORK | 1550 | 93 | 295.74 | 1939 | 1500 | 0 | WITHOUT GST | 0 | JMS REQ HOLD RS 1000 |  | M.KRISHNA KUMAR (WGL) | 1500 | 31-03-2023 | RAJESHCH
36 | QJFMTS22240018 | Y.VEERABABU | M.RAVI | SHALIBANDA | 7854 | MINI DX | APPROVED BY STATE LEAD | 27-03-2023 | 22W LED CEILING LIGHTS REQUIRED IN THE STORE | 4548 | 270 | 867.24 | 5685 | 650 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 3572 | 31-03-2023 | RAVI
37 | QJFMTS22240018 | Y.VEERABABU | M.RAVI | SHALIBANDA | 7854 | MINI DX | APPROVED BY STATE LEAD | 27-03-2023 | 22W LED CEILING LIGHTS REQUIRED IN THE STORE | 4548 | 270 | 867.24 | 5685 | 2922 | 0 | WITH GST | 446 | GST BILL REQ HOLD RS 446 |  | CH.SRINIVASA RAO | 3572 | 31-03-2023 | RAVI
38 | QJFMTS22240008 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4504028051 | 29-03-2023 | AHU DRAIN WATER PUMP REQUIRED | 4950 | 297 | 944.46 | 6191 | 4200 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 4200 | 31-03-2023 | RAVI
39 | QJFMTS22240083 | B.SUMAN NAIK | M.SUJITHA | HABSIGUDA | T541 | TRENDS | 4503999254 | 25-03-2023 | DOOR DAMAGED NEAR FIRST FLOOR STAIR CASE AREA, NEED TO REPAIR | 2206 | 48.42 | 405.8 | 2660 | 1800 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1800 | 31-03-2023 | RAVI
40 | QJFMTS22237060 | V.RAVI | M.SUJITHA | SP PHARMA MERIX PRIDE BLDG SURARAM | TNU3 | SP PHARMA SIS | APPROVED BY STATE LEAD | 29-03-2023 | DRAW LOCKS AND DOOR LOCKS REQUIRED IN THE STORE | 4400 | 84 | 807.12 | 5291 | 2590 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 2590 | 31-03-2023 | RAVI
41 | QJFMTS22239896 | Y.VEERABABU | M.RAVI | KOTHAPET | 8834 | DIGITAL | 4504028042 | 29-03-2023 | GYPSUM FALSE CEILING REPAIR WORK AND ALUMINIUM CHANNELS FIXING WORK REQUIRED | 28537 | 960 | 5309.46 | 34806 | 26500 | 0 | WITHOUT GST | 0 | JMS REC RS 2000 |  | Y.VEERA BABU | 26000 | 31-03-2023 | RAVI
42 | QJFMTS22239528 | T.GANESH | M.RAVI | DSL MALL | TJP2 | PERFOMAX | 4504028049 | 29-03-2023 | STEAM IRONS NOT WORKING IN THE STORE, NEED TO REPAIR | 1450 | 87 | 276.66 | 1814 | 1300 | 0 | WITHOUT GST | 0 |  |  | T.GANESH | 1300 | 31-03-2023 | RAVI
43 | QJFMTS22240006 | B.SUMAN NAIK | M.SUJITHA | KACHIGUDA | 8824 | DIGITAL | 4504044354 | 29-03-2023 | AC TRAP DOOR INSTALLATION WORK REQUIRED IN THE STORE | 7800 | 468 | 1488.24 | 9756 | 6130 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 6100 | 31-03-2023 | RAVI
44 | QJFMTS22240175 | V.RAVI | M.SUJITHA | PATNY CENTRE | TG90 | TRENDS | 4504028054 | 29-03-2023 | GLASS DOOR IS NOT WORKING PROPERLY, NEED TO REPAIR | 1500 | 90 | 286.2 | 1876 | 1200 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1200 | 31-03-2023 | RAVI
45 | QJFMTS22240011 | Y.VEERABABU | M.RAVI | MALAKPET | 8008 | TRENDS | 4504037473 | 28-03-2023 | TRAP DOOR WOODEN FRAME WORK REQUIRED IN THE STORE | 24000 | 1440 | 4579.2 | 30019 | 22000 | 0 | WITHOUT GST | 0 | PLY BOARD -1MM DECOLUM LAMINATE GST BILL REQ HOLD RS 2000 |  | Y.VEERA BABU | 22000 | 31-03-2023 | RAVI
46 | QJFMTS22240133 | T.GANESH | M.RAVI | NARAPALLY MULTIPLEX | TG17 | TRENDS | 4504039448 | 28-03-2023 | 5.5KVA INVERTER NOT WORKING IN THE STORE, NEED TO REPAIR | 17000 | 1020 | 3243.6 | 21264 | 16000 | 0 | WITHOUT GST | 0 | JMS REC RS 1000 |  | T.GANESH | 16000 | 31-03-2023 | RAVI
47 | QJFMTS22240077 | M.VENKATA SUBBA RAO | M.SUJITHA | RADHIKA MALL | 1937 | TRENDS | 4504036487 | 30-03-2023 | ANTI SKID TAPE REQUIRED IN THE STORE | 7020 | 0 | 1263.6 | 8284 | 4300 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 4300 | 31-03-2023 | RAVI
48 | QJFMTS22240012 | Y.VEERABABU | M.RAVI | MALAKPET | 8008 | TRENDS | 4504042399 | 30-03-2023 | FALSE CEILING WORK REQUIRED IN THE STORE | 33444 | 0 | 6019.92 | 39464 | 29000 | 0 | WITHOUT GST | 0 | GYPSUM FALSE CEILING GST BILL RS 1000 JMS RS 4000 |  | Y.VEERA BABU | 29000 | 31-03-2023 | RAVI
49 | QJFMTS22239981 | M.VENKATA SUBBA RAO | M.SUJITHA | SWAGATH FUNCTION HALL NEREDMET | U551 | SMART POINT | 4504036486 | 30-03-2023 | SIGNAGE BOARD TIMER REQUIRED IN THE STORE | 1380 | 82.8 | 263.3 | 1726 | 1350 | 0 | WITHOUT GST | 0 |  |  | M.VENKATA SUBBARAO | 1300 | 31-03-2023 | RAVI
50 | QJFMTS22239442 | T.GANESH | M.RAVI | DSL MALL | TJP2 | PERFOMAX | 4504028050 | 29-03-2023 | AHU CHEMICAL SERVICING REQUIRED | 800 | 48 | 152.64 | 1001 | 700 | 0 | WITHOUT GST | 0 |  |  | T.GANESH | 700 | 31-03-2023 | RAVI
51 | QJFMTS22240151 | B.VENKANNA | K.SANJAY | THE WHITE CROW BANJARA HILLS | THB0 | BRANDS | 4504039967 | 31-03-2023 | BOTH SIDE FASCADE GLASS CLEANING WORK REQUIRED | 34680 | 0 | 6242.4 | 40922 | 27000 | 0 | WITHOUT GST | 0 | JMS REC RS 2000 |  | S.RAMACHANDRA RAO | 27000 | 31-03-2023 | SANJAY
52 | QJFMTS22237387 | T.SRINIVAS | CH.RAJESH | KARIM NAGAR | M031 | MALL MANAGEMENT | 4504011410 | 18-03-2023 | ACROLIC SHEET REQUIRED | 394750 | 23685 | 75318.3 | 493753 | 268500 | 26250 | WITHOUT GST | 0 | TODAY RS 100000 ---- HOLD WORKS COPT 168500 | 100000 | THUMULA SRINIVAS (KMR) | 268500 | 31-03-2023 | RASHEED
53 | QJFMTS22239937 | G.SUNIL | CH.RAJESH | BANSWADA | TFZ8 | TRENDS EXPRESS | 4504042396/4504042397 | 30-03-2023 | 25 LTRS RO PLANT REPAIR REQUIRED | 10431 | 24 | 1881.9 | 12337 | 9500 | 0 | WITHOUT GST | 0 |  |  | K.SRINIVAS-2 | 9500 | 31-03-2023 | RAJESHCH
54 | QJFMTS22239652 | KOJJRAPPU SRINIVAS | K.SANJAY | FORUM MALL | TAE4 | DIGITAL | 4091767465 | 29-03-2023 | INSULATION MAT REQUIRED IN ELECTRICAL ROOM | 4500 | 0 | 810 | 5310 | 400 | 0 | WITHOUT GST | 0 |  |  | KOJJARAPU SRINIVAS | 400 | 31-03-2023 | SANJAY
55 | QJFMTS22239652 | KOJJRAPPU SRINIVAS | K.SANJAY | FORUM MALL | TAE4 | DIGITAL | 4091767465 | 29-03-2023 | INSULATION MAT REQUIRED IN ELECTRICAL ROOM | 4500 | 0 | 810 | 5310 | 3468 | 0 | WITH GST | 529.02 | GST BILL REQ HOLD RS 530 |  | DEESAWALA RRUBBERINDUSTRIES | 3468 | 31-03-2023 | SANJAY
56 | QJFMTS22237802 | G.SURESH | K.SANJAY | BALANAGAR | FR1F | TRENDS | 4504038807 | 24-03-2023 | FM CORNER BOX REQUIRED IN STORE | 2200 | 132 | 419.76 | 2752 | 500 | 0 | WITHOUT GST | 0 |  |  | GUDISELA SURESH | 500 | 31-03-2023 | SANJAY
57 | QJFMTS22237802 | G.SURESH | K.SANJAY | BALANAGAR | FR1F | TRENDS | 4504038807 | 24-03-2023 | FM CORNER BOX REQUIRED IN STORE | 2200 | 132 | 419.76 | 2752 | 1300 | 0 | WITHOUT GST | 0 |  |  | CH.SRINIVASA RAO | 1300 | 31-03-2023 | SANJAY
58 | QJFMTS22239056 | K.KARTHIK | CH.RAJESH | MOTINAGAR | SL73 | MINI FC | 63652498 | 28-03-2023 | CHARGES FOR RENTAL DG | 36000 | 2160 | 6868.8 | 45029 | 35500 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 35500 | 31-03-2023 | RAJESHCH
59 | QJFMTS22239059 | K.KARTHIK | CH.RAJESH | MOTINAGAR | SL73 | MINI FC | 63652494 | 28-03-2023 | CHARGES FOR RENTAL DG | 36000 | 2160 | 6868.8 | 45029 | 35500 | 0 | WITHOUT GST | 0 |  |  | K.KARTHIK | 35500 | 31-03-2023 | RAJESHCH
60 | QJFMTS22240146 | V.AJAY KUMAR | CH.RAJESH | JAGITYAL JEWELS | TAAU | JEWELS | 4504042392 | 30-03-2023 | CHARGES FOR SAFE LOCK REPAIR WORK | 3750 | 225 | 715.5 | 4691 | 3400 | 0 | WITHOUT GST | 0 |  |  | V.AJAY | 3400 | 31-03-2023 | RAJESHCH
61 | QJFMTS22240147 | V.AJAY KUMAR | CH.RAJESH | KORATLA | TL89 | TRENDS EXPRESS | 4504034507/4504042388 | 30-03-2023 | WASH ROOM PLUMBING REQUIRED | 3669 | 132 | 684.18 | 4485 | 2600 | 0 | WITHOUT GST | 0 |  |  | V.AJAY | 2600 | 31-03-2023 | RAJESHCH
62 | QJFMTS22239789 | V.AJAY KUMAR | CH.RAJESH | JAGTIYAL | TQE6 | TRENDS | 4504042390 | 30-03-2023 | CHARGES FOR FLOOD LIGHTS FIXING BY USING JULA WORK | 4590 | 275.4 | 875.77 | 5741 | 4500 | 0 | WITHOUT GST | 0 |  |  | V.AJAY | 4500 | 31-03-2023 | RAJESHCH
63 | QJFMTS22240093 | M.KRISHNA KUMAR | CH.RAJESH | KSPL HANUMAKONDA - WARANGAL | TY6M | KALANIKETHAN | 4504032323 | 30-03-2023 | ENTRANCE SHUTTER REPAIR WORK | 4500 | 270 | 858.6 | 5629 | 4000 | 0 | WITHOUT GST | 0 |  |  | M.KRISHNA KUMAR (WGL) | 4000 | 30-03-2023 | RAJESHCH
64 | QJFMTS22240180 | B.VENKANNA | K.SANJAY | SUPER DRY JUBLI HILLS | 5865 | BRANDS | 4091818762 | 30-03-2023 | 4A 2POLE MCB REQUIRED IN THE STORE | 1237 | 0 | 222.66 | 1460 | 100 | 0 | WITHOUT GST | 0 |  |  | B.VENKANNA | 928.36 | 31-03-2023 | SANJAY
65 | QJFMTS22240180 | B.VENKANNA | K.SANJAY | SUPER DRY JUBLI HILLS | 5865 | BRANDS | 4091818762 | 30-03-2023 | 4A 2POLE MCB REQUIRED IN THE STORE | 1237 | 0 | 222.66 | 1460 | 828.36 | 0 | WITH GST | 126.36 | GST BILL REQ HOLD RS 126 |  | B.VENKANNA | 928.36 | 31-03-2023 | SANJAY
66 | QJFMTS22240004 | VENKATA SUBBAIAH | K.SANJAY | BB-HYDERABAD-AMIRIKUKKATPALLI | FRBI | SMART BAZAR | 4504028910 | 28-03-2023 | ALL STAIR CASE SAFETY JAIL AND CABLE TAGS REQUIRED IN THE STORE | 7390 | 443.4 | 1410.01 | 9243 | 7000 | 0 | WITHOUT GST | 0 |  |  | GUDISELA SURESH | 7000 | 31-03-2023 | SANJAY
67 | QJFMTS22239823 | KOJJARAPU .SRINIVAS | K.SANJAY | JUBILEE HILLS FASHION FACTORY | F1WD | JUBILEE HILLS FASHION FACTORY | 4504042402 | 30-03-2023 | DIESEL PUMP REQUIRED FOR GENERATOR REFILLING PURPOSE. | 3400 | 204 | 648.72 | 4253 | 3000 | 0 | WITHOUT GST | 0 |  |  | KOJJARAPU SRINIVAS | 3000 | 31-03-2023 | SANJAY
68 | QJFMTS22240092 | B.VENKANNA | K.SANJAY | GVK MALL | TFB1 | G STAR | 4504036488 | 30-03-2023 | RENTAL CHARGES FOR AMPLIFIER 7 DAYS (25/03/2023.TO 31/03/23) | 2800 | 168 | 534.24 | 3502 | 2400 | 0 | WITHOUT GST | 0 |  |  | S.RAMACHANDRA RAO | 2400 | 31-03-2023 | SANJAY
SNo | Name | Account No | Bank | IFSC Code | Amount | HOLD | BALANCE
1 | S.RAMACHANDRA RAO | 33182180000026 |  | SYNB0003318 | 60100 | 4700 | 55400
2 | KOJJARAPU SRINIVAS | 30552610003613 |  | CNRB0000033 | 3400 | 0 | 3400
3 | GUDISELA SURESH | 6892700036 |  | IDIB000S289 | 177800 | 131000 | 46800
4 | B.VENKANNA | 30552610000786 |  | SYNB0003055 | 928.36 | 126 | 802.36
5 | M.KRISHNA KUMAR (WGL) |  |  |  | 7900 | 1000 | 6900
6 | V.AJAY |  |  |  | 10500 | 0 | 10500
7 | K.KARTHIK | 35353621325 |  | SBIN0011990 | 71000 | 0 | 71000
8 | CH.SRINIVASA RAO | 34362010002073 |  | SYNB0003436 | 127444 | 6487 | 120957
9 | DEESAWALA RRUBBERINDUSTRIES | 38215978688 |  | SBIN0002788 | 3468 | 530 | 2938
10 | K.SRINIVAS-2 | 038710100032884 |  | UBIN0803871 | 26500 | 0 | 26500
11 | THUMULA SRINIVAS (KMR) | 33362610002232 |  | CNRB0006653 | 268500 | 168500 | 100000
12 | T.GANESH | 37492210000309 |  | SYNB0003749 | 18000 | 1000 | 17000
13 | M.VENKATA SUBBARAO |  |  |  | 1300 | 0 | 1300
14 | Y.VEERA BABU | 33202010017454 |  | SYNB0003320 | 107500 | 13000 | 94500
15 | ARIHANTH SWITCH GEARS | 041383800000165 |  | YESB0000413 | 5568 | 0 | 5568
16 | P.KIRAN KUMAR | 33182010001375 |  | SYNB0003318 | 15300 | 2500 | 12800
17 | PAVAN FIRE |  |  |  | 800 | 0 | 800
18 | E.SUCHARITH | 3212187149 |  | KKBK0007460 | 15000 | 2000 | 13000
19 | PIONEER TRADING |  |  |  | 1250 | 0 | 1250
20 | KESAR ELECTRIC INDIA | 5511897378 |  | KKBK0000464 | 2932 | 0 | 2932
21 | S.KRISHNA -2 | 20098209590 |  | SBIN0012906 | 32568 | 0 | 32568
22 | ARIHANT LIGHTING -TS | 6652020001682 |  | BARBODBRPRO | 8250 | 0 | 8250
23 | BOSS | 37492010011131 |  | SYNB0003749 | 6732 | 0 | 6732
[5 empty] | 972740.36 | 330843 | 641897.36